OCTOBER 2019

|  |  |  |
| --- | --- | --- |
|  |  |  |

**Product Guide Specification**

Specifier Notes: This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on *MasterFormat 2016* and *The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.*

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code. Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement. Coordinate this section with other specification sections and the Drawings. Delete all “Specifier Notes” after editing this section.

**Section 28 21 00: Video Surveillance**

**Section 28 21 13: IP Cameras**

**4K 40X IR PTZ NETWORK CAMERA**

1. **– GENERAL**
   1. SUMMARY
      1. Section Includes
         1. Section 28 21 17: Video Surveillance – Surveillance Cameras – Camera Housings
         2. Section 28 21 19: Video Surveillance – Surveillance Cameras – Camera Mounts
         3. Section 28 21 21: Video Surveillance – Surveillance Cameras – Illuminators
         4. Section 28 27 00: Video Surveillance – Video Surveillance Sensors
      2. Related Sections
         1. [Section 28 33 15: Security Detection, Alarm and Monitoring – Security Monitoring and Control – Security Monitoring and Control Software].

\*\*\*\*\*\*\*\*\*\*Specifier’s note: Include those standards referenced elsewhere in this SECTION.

* 1. REFERENCES
     1. Electromagnetic Compatibility
        1. FCC Part 15 Subpart B
        2. ANSI C63.4-2014
     2. Underwriters Laboratories, Inc. (UL) (www.ul.com)
        1. UL60950-1 + CAN/CSA C22.2, No.60950-1
     3. European Standards
        1. EN 55032
        2. EN 55024
        3. EN 50130-4
     4. HD standards
        1. Complies with the SMPTE 274M-2008 Standard in:
           1. Resolution: 1920x1080
           2. Scan: Progressive
           3. Color representation: complies with ITU-R BT.709
           4. Aspect ratio: 16:9
           5. Frame rate: 25 and 30 frames/s
        2. Complies with the 296M-2001 Standard in:
           1. Resolution: 1280x720
           2. Scan: Progressive
           3. Color representation: complies with ITU-R BT.709
           4. Aspect ratio: 16:9
           5. Frame rate: 25, 30, 50 and 60 frames/s
           6. Interference-Causing Equipment Standards
  2. SYSTEM DESCRIPTION
     1. Section Includes
        1. Video Surveillance – Surveillance Cameras – IP Cameras
     2. Performance Requirements
        1. The 4K PTZ camera shall be a full-featured 8 MP camera designed for discrete video surveillance applications in indoor and outdoor environments.
        2. The 4K PTZ camera shall provide direct network connection using Smart H.265+ and the Smart H.264+ compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.
        3. The 4K PTZ camera shall offer a 1/1.8-in Progressive-scan CMOS STARVIS™ imager with an effective pixel density of 3840 x 2160 at 30 fps.
        4. The 4K PTZ camera shall have a motorized lens with a focal length between 5.6 mm to 223.0 mm and an autofocus lens with 40x optical zoom.
        5. The 4K PTZ camera shall support the following dual, redundant power options:
           1. 24 VAC ± 25%
           2. Hi-PoE
           3. The 4K PTZ camera shall default to use power from the PoE power supply, if connected.
           4. The 4K PTZ camera shall reboot and switch to the 24 VAC power supply if power from the PoE power supply is lost.
        6. The 4K PTZ camera shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.
        7. The 4K PTZ camera shall offer Analytics+ Functions — Face Recognition and Perimeter Protection.
        8. The 4K PTZ camera shall offer Auto-tracking that controls the pan/tilt/zoom actions of the camera to automatically track an object in motion and to keep it in the scene.
        9. The 4K PTZ camera shall incorporate a built-in defog mode that dynamically adjusts the camera’s contrast to provide improved image quality in scenes affected by fog, smog, mist, smoke or other low-contrast interference.
        10. The 4K PTZ camera shall offer the Intelligent Video System to detect and analyze moving objects for improved video surveillance.
        11. The 4K PTZ camera shall conform to the ONVIF standard to provide interoperability with other conformant systems.
        12. The 4K PTZ camera shall offer three separate and configurable streams with individually configurable HD streams.
        13. The 4K PTZ camera shall offer bi-directional audio.
        14. The 4K PTZ camera shall accept seven (7) incoming alarm connections and offer two (2) outgoing alarm connections.
        15. The 4K PTZ camera housing shall conform to the IP67 Ingress Protection Standard.
  3. SUBMITTALS

* + 1. Submit under provisions of Section [01 33 00.]
    2. Product Data:
       1. Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.
    3. Dimensional Drawings; include
       1. Overall device dimensions.
       2. Dimensions specific for installation.
    4. Closeout Submittals
       1. User manual.
       2. Parts list.
       3. Maintenance requirements.
  1. QUALITY ASSURANCE
     1. Manufacturer:
        1. Minimum of [10] years of experience in manufacture and design Video Surveillance Devices.
     2. Video Surveillance System:
        1. List certifying bodies (UL, CSA, etc.)
        2. Provide evidence of compliance upon request.
     3. Installer:
        1. Minimum of [5] years of experience installing Video Surveillance System.
  2. DELIVERY, STORAGE AND HANDLING
     1. Comply with requirements of Section 01 60 00.
     2. Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.
     3. Protect store materials from environmental and temperature conditions following manufacturer’s instructions.
     4. Handle and operate products and systems according to manufacturer’s instructions.
  3. WARRANTY
     1. Provide manufacturer’s warranty covering [2] years for replacement and repair of defective equipment. Warranty varies country to country.
  4. MAINTENANCE
     1. Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.
     2. Provide factory direct technical support via phone and e-mail.

1. **– PRODUCTS**
   1. MANUFACTURERS
      1. [Acceptable Manufacturer:

Dahua Technology USA Inc.

23 Hubble, Irvine, CA 92618

Tel: (949) 679-7777

Fax: (949) 679-5760

Email: [sales.usa@global.dahuatech.com](mailto:sales.usa@global.dahuatech.com)]

* + 1. Substitutions: [Not permitted.] [Under provisions of Division 1.]
       1. [All proposed substitutions must be approved by the Architect or Engineer professional.]
       2. [Proposed substitutions must provide a line-by-line compliance documentation.]
  1. 8 MP 40X IR PTZ NETWORK CAMERA 8A840WANF  
     1. General Characteristics:
        1. The 4K PTZ camera shall be a full-featured 8 MP camera designed for discrete video surveillance applications in indoor and outdoor environments.
        2. The 4K PTZ camera shall provide direct network connection using Smart H.265+ and the Smart H.264+ compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.
        3. The 4K PTZ camera shall offer a 1/1.8-in Progressive-scan CMOS STARVIS™ imager with an effective pixel density of 3840 x 2160 at 30 fps.
        4. The 4K PTZ camera shall have a motorized lens with a focal length between 5.6 mm to 223.0 mm and an autofocus lens with 40x optical zoom.
        5. The 4K PTZ camera shall support the following dual, redundant power options:
           1. 24 VAC ± 25%
           2. Hi-PoE
           3. The 4K PTZ camera shall default to use power from the PoE power supply, if connected.
           4. The 4K PTZ camera shall reboot and switch to the 24 VAC power supply if power from the PoE power supply is lost.
        6. The 4K PTZ camera shall offer True Wide Dynamic Range (120 dB) for clear images in extreme high-contrast environments.
        7. The 4K PTZ camera shall offer Analytics+ Functions — Face Recognition and Perimeter Protection.
        8. The 4K PTZ camera shall offer Auto-tracking that controls the pan/tilt/zoom actions of the camera to automatically track an object in motion and to keep it in the scene.
        9. The 4K PTZ camera shall incorporate a built-in defog mode that dynamically adjusts the camera’s contrast to provide improved image quality in scenes affected by fog, smog, mist, smoke or other low-contrast interference.
        10. The 4K PTZ camera shall offer the Intelligent Video System to detect and analyze moving objects for improved video surveillance.
        11. The 4K PTZ camera shall conform to the ONVIF standard to provide interoperability with other conformant systems.
        12. The 4K PTZ camera shall offer three separate and configurable streams with individually configurable HD streams.
        13. The 4K PTZ camera shall offer bi-directional audio.
        14. The 4K PTZ camera shall accept seven (7) incoming alarm connections and offer two (2) outgoing alarm connections.
        15. The 4K PTZ camera housing shall conform to the IP67 Ingress Protection Standard.
     2. Imaging
        1. The 4K PTZ camera shall offer a 1/1.8-inch type CMOS STARVIS™ progressive-scan imager.
        2. The 4K PTZ camera shall offer an effective number of pixels of 3840 x 2160   
           (8 MP) effective picture elements.
        3. The 4K PTZ camera shall offer a 40x optical zoom lens (5.6 mm to 223 mm) with a further 16x digital zoom.
        4. The 4K PTZ camera shall have a horizontal angle of view of between 2.0° to 63.9°.
        5. The 4K PTZ camera shall offer an aperture of F1.4 to F4.8.
        6. The 4K PTZ camera shall produce a color image with a minimum scene illumination of 0.002 lux at F1.4 and a monochrome image, when in the night mode, with a minimum illumination of 0 lux at F1.4 when in IR mode.
        7. The 4K PTZ camera shall offer automatic focus and iris control with manual override.
        8. The 4K PTZ camera shall offer a dynamic range of 120 dB.
     3. PTZ Features
        1. The 4K PTZ camera shall provide a pan range of 360° endless.
        2. The 4K PTZ camera shall provide a tilt angle of –30° to 90° relative to the horizon.
        3. The 4K PTZ camera shall provide an automatic flip feature to automatically rotate and flip the camera as it tilts through the vertical position to maintain the correct orientation of the image.
        4. The 4K PTZ camera shall provide the following modes for variable pan/tilt speeds:
           1. Manual Control:

Pan: 0.1°/s to 240°/s

Tilt: 0.1°/s to 100°/s

* + - * 1. Preset Mode:

Pan: 240°/s

Tilt: 120°/s

* + - 1. The 4K PTZ camera shall provide a feature that automatically rotates, or pivots, the camera to simplify tracking of a person walking directly under the camera.
      2. The 4K PTZ camera shall support 300 presets.
      3. The 4K PTZ camera shall support the following PTZ modes:
         1. Five (5) PTZ pattern modes.
         2. Eight (8) PTZ tour modes.
         3. One (1) Auto Pan mode.
         4. One (1) Auto Scan mode.
      4. The 4K PTZ camera shall automatically activate a preset, pan, scan, tour, or pattern mode if the camera does not receive a command during a specified period.
      5. The 4K PTZ camera shall automatically restore the previous PTZ and lens status after the camera powers up after a power failure.
      6. The 4K PTZ camera shall support the DH-SD and the Pelco-P/D protocols.
    1. Illumination
       1. The 4K PTZ camera shall have ten (10) integrated LEDs.
       2. The 4K PTZ camera shall offer an IR distance of up to 500.0 m (1640.42 ft).
    2. Video Characteristics
       1. The 4K PTZ camera shall offer CBR/VBR bit rate control.
       2. The HD Mini PTZ camera shall offer the following video compression protocols
          1. H.265 (512 Kbps to 8192 Kbps)
          2. H.264 (512 Kbps to 8192 Kbps)
       3. The 4K PTZ camera shall offer BLC, HLC, and True WDR modes of backlight compensation.
       4. The 4K PTZ camera shall offer Auto, ATW, Indoor, Outdoor, Manual, Sodium Lamp, Natural, and Street Lamp modes.
       5. The 4K PTZ camera shall offer Ultra DNR (2D/3D) noise reduction.
       6. The 4K PTZ camera shall offer 24 privacy masking areas.
    3. Streaming Capability
       1. The 4K PTZ camera shall generate full 8 MP (3840 x 2160 pixels) at 30 fps resolution using H.265 compression.
       2. The 4K PTZ camera shall offer Unicast and Multicast streaming methods.
       3. The 4K PTZ camera shall offer the following resolutions:
          1. 8 MP (3840 x 2160)
          2. 1080p (1920 x 1080)
          3. 1.3 MP (1280 x 960)
          4. 720p (1280 x 720)
          5. D1 (704 x 380)
          6. CIF (352 x 240)
       4. The HD Mini PTZ camera shall generate three streams at the following maximum resolutions:
          1. Main Stream: 8 MP, 1080p, 1.3 MP, or 720p at 30 fps
          2. Sub Stream 1: D1 or CIF at 30 fps
          3. Sub Stream 2: 1080p, 1.3 MP, or 720p at 30 fps
    4. IP Connectivity
       1. The 4K PTZ camera shall allow full camera control and configuration capabilities via a TCP/IP network.
       2. The 4K PTZ camera shall deliver 4 MP video, at rates up to 30 frames per second via TCP/IP over an RJ-45 (10/100 Base-T) connection.
       3. The 4K PTZ camera shall conform to the ONVIF standard.
       4. The 4K PTZ camera shall offer Quality of Service (QoS) configuration options.
       5. The 4K PTZ camera shall support the IPv6 internet-layer protocol for packet switched internetworking across multiple IP networks.
       6. The 4K PTZ camera shall offer local and network storage options that include: MicroSD, Network Attached Storage (NAS), and recording to a local PC for instant recording.
       7. The 4K PTZ camera shall support the following protocols: IPv4/IPv6, HTTP, HTTPS, SSL, TCP/IP, UDP, UPnP, ICMP, IGMP, SNMP, RTSP, RTP, SMTP, NTP, DHCP, DNS, PPPOE, DDNS, FTP, IP Filter, QoS, Bonjour, 802.1x
       8. The 4K PTZ camera shall support the Smart PSS and DSS management software.
       9. The 4K PTZ camera shall support the Android and the IOS mobile operating systems.
    5. Interfaces
       1. The 4K PTZ camera shall support the following audio compression technologies: G.711a, G.711Mu, AAC, G.722, G.726, G.729, MPEG2-L2.
       2. The 4K PTZ camera shall offer one (1) BNC video output (for installation purposes).
       3. The 4K PTZ camera shall offer one (1) RS485 interface.
       4. The 4K PTZ camera shall offer an audio interface with one (1) channel IN and one (1) channel OUT.
       5. The 4K PTZ camera shall offer an alarm interface with seven (7) channels IN and two (2) channels OUT.
    6. Intelligent Video System
       1. The Intelligent Video System shall offer intelligent video analytics built-in to the 4K PTZ camera.
       2. The Intelligent Video System shall be capable of processing and analyzing video within the camera itself, with no extra hardware required.
       3. The Intelligent Video System shall detect multiple object behaviors such as abandoned or missing objects.
       4. The Intelligent Video System shall support Tripwire analytics to detect when an object has crossed a pre-determined line on the video image.
       5. The Intelligent Video System shall offer Auto-tracking, a feature that automatically controls the pan, tilt, and zoom functions of the camera to track a moving object and keep it in the scene.
    7. Installation Requirements
       1. The 4K PTZ camera shall be capable of operating in an outdoor environment within a temperature range of –40° C to +70° C (–40° F to 158° F).
       2. The 4K PTZ camera shall accept power, transmit video, and accept control via a TCP/IP connection.
       3. The 4K PTZ camera shall support the following dual, redundant power options:
          1. 24 VAC ± 25%.
          2. Hi-PoE.
          3. The 4 MP Dome camera shall default to use power from the PoE power supply, if connected.
          4. The 4 MP Dome camera shall reboot and switch to the 24 VAC power supply if power from the PoE power supply is lost.
    8. Housing Options
       1. The 4K PTZ camera shall be offered in a metal housing.
       2. The 4K PTZ camera housing shall conform to the IP67 Ingress Protection standard.

2.3 ACCESSORIES

* + 1. The 4K PTZ camera shall offer the following accessories:
       1. Included mounting accessories:
          1. Power adapter
          2. Wall mount
       2. Optional mounting hardware:
          1. [Pole mount.]

1. **– EXECUTION**
   1. EXAMINATION
      1. Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.
      2. Do not begin installation until unacceptable conditions are corrected.
   2. PREPARATION
      1. Protect devices from damage during construction.
   3. INSTALLATION
      1. Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.
      2. Perform installation with qualified service personnel.
      3. Install devices in accordance with the National Electrical Code or applicable local codes.
      4. Ensure selected location is secure and offers protection from accidental damage.
      5. Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.
   4. FIELD QUALITY CONTROL
      1. Test snugness of mounting screws of all installed equipment.
      2. Test proper operation of all video system devices.
      3. Determine and report all problems to the manufacturer’s customer service department.
   5. ADJUSTING
      1. Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.
      2. Make any adjustment of camera settings to comply with specific customer’s need.
   6. DEMOSTRATION
      1. Demonstrate at final inspection that video management system and devices functions properly.

END OF SECTION